## Recap
Appartments - BMS
| TYPE | price /unit | units | tot
Verona East Deck | 3BHK + FAM | 4981.5 | 6 | 29889
Verona EastTerrazo | 3BHK + FAM | 4982 | 6 | 29892
Verona West Avanti | 3BHK | 5089.75 | 14 | 71256.5
Cordona East Terrazo | 4BHK | 5673.75 | 6 | 34042.5
Cordona East Deck | 4BHK + FAM | 5673.75 | 6 | 34042.5
Cordona West Terrazo | 3BHK | 4991 | 3 | 14973
Cordona West Deck | 3BHK | #REF! | 2 | #REF!
Cordona West Duplex | 4BHK GRANDE | #REF! | 5 | #REF!
Tarano West Terrazo | 4BHK + FAM | #REF! | 6 | #REF!
Tarano West Deck | 4BHK + FAM | #REF! | 7 | #REF!
Tarano East Terrazo | 4BHK + FAM | #REF! | 6 | #REF!
Tarano East Deck | 4BHK + FAM | #REF! | 6 | #REF!
|  | TOTAL |  | #REF!
Network equipment
01 Tarano West | Managed switch 8+2G | 895 | 2 | 1790
02 Tarano East | Managed switch 8+2G | 895 | 2 | 1790
03 Cordona West | Managed switch 8+2G | 895 | 2 | 1790
04 Cordona East | Managed switch 8+2G | 895 | 2 | 1790
05 Verona Avanti West | Managed switch 8+2G | 895 | 2 | 1790
06 Verona East | Managed switch 8+2G | 895 | 2 | 1790
|  | TOTAL |  | 10740
Video IP Intercom (single entrance)
01 Tarano West | IP Helios | 1470 | 1 | 1470
02 Tarano East | IP Helios | 1470 | 1 | 1470
03 Cordona West | IP Helios | 1470 | 1 | 1470
04 Cordona East | IP Helios | 1470 | 1 | 1470
05 Verona Avanti West | IP Helios | 1470 | 1 | 1470
06 Verona East | IP Helios | 1470 | 1 | 1470
|  | TOTAL |  | 8820
Central BMS Server
Licence | G64-15000 | 14700 | 1 | 14700
Application | Robotina | 24300 | 1 | 24300
Equipment | Rack mount server
22" Monitor
Laser Printer
| Network switch |  | 1 | 4300
|  | TOTAL |  | 43300
| SUM TOTAL |  |  | #REF!

## Verona East West 3BHK FAM
TYPE 3BHK FAM
|  | Lights | CeilingFans | Alarm | Temperature
| Dress | 2
| Masterbed | 3 | 1 | 1
| Balkony | 1
| Bath | 2 | 1 | 1
| Family Room | 2 | 1 | 1
| Bedroom 1 | 2 | 1 | 1
| Bedroom 2 | 2
| Bath 1 | 1
| Bath 2 | 1 | 1 | 1
| Living | 4 | 1 | 1
| Dinning | 4 | 1
| Kitchen | 2
| Maid | 2
| Terrazzo | 2
| PwRm | 1
| Foyer | 3 | 1 | 1
|  | 34 | 8 | 7 | 8
| Light module ON/OFF | 4.25 | BIO8R4 | 170 | 722.5
| Dimming lights - 3 | 1 | LC-DC | 95 | 95
| Switch input | 3.5 | BI24 | 150 | 525
*** | Temperature zones | 8 | FC+ES | 120 | 960
| Alarm | 7 | PIR sensor | 87 | 609
| Ceiling fans | 1 | BIO8R4 | 170 | 170
| IQ + Touch Screen | 1 | 10.2" Color | 1300 | 1300
| Licence | 1 | IQ-L | 600 | 600
4981.5

## Verona West Avanti 3BHK
TYPE 3BHK 3186SQFT
| Lights | CeilingFans | Alarm | Temperature
Dress | 1
Bath | 1 | 0
Masterbed | 3 |  | 1
Living | 3 | 1 | 1
Dining | 3 | 1 | 1
Bar | 2 | 1
Bedroom 1 | 2 | 1 | 1
Bedroom 2 | 3 | 1 | 1
Toilet 1 | 1
Toilet 2 | 1
Study | 1 | 1 | 1
Kitchen | 2 | 1
Utility | 1 | 1
Maid | 1
PwRm | 1
Deck | 4 |  | 2
Foyer | 3 | 1
Bath | 1
| 34 | 9 | 8 | 8
Light module ON/OFF | 4.25 | BIO8R4 | 170 | 722.5
Dimming lights - 3 | 1 | LC-DC | 95 | 95
Switch input | 3.5 | BI24 | 150 | 525
Temperature zones | 8 | FC+ES | 120 | 960
Alarm | 8 | PIR sensor | 87 | 696
Ceiling fans | 1.125 | BIO8R4 | 170 | 191.25
IQ + Touch Screen | 1 | 10.2" Color | 1300 | 1300
Licence | 1 | IQ-L | 600 | 600
5089.75

## Cordona East Terrazo 4BHK
TYPE 4BHK 4099 SQFT
| Lights | CeilingFans | Alarm | Temperature
Dress 1 | 1
Dress 2 | 1
Bath | 1
Masterbed | 3 | 1 | 1
Living | 3 | 1 | 1
Dining | 3 | 1 | 1
Bar | 2 | 1
Family room | 2 | 1
Bedroom 1 | 2 | 1 | 1
Bedroom 2 | 3 | 1 | 1
Bedroom 3 | 1 | 1 | 1
Toilet 1 | 1
Toilet 2 | 1
Toilet 3 | 1
Study | 1 | 1 | 1
Kitchen | 2 | 1
Utility | 1 | 1
Maid | 1
PwRm | 1
Terrazo | 4 |  | 2
Foyer | 3 | 1 | 1
Bath | 1
| 39 | 12 | 10 | 10
Light module ON/OFF | 4.875 | BIO8R4 | 170 | 828.75
Dimming lights - 3 | 1 | LC-DC | 95 | 95
Switch input | 3.5 | BI24 | 150 | 525
Temperature zones | 10 | FC+ES | 120 | 1200
Alarm | 10 | PIR sensor | 87 | 870
Ceiling fans | 1.5 | BIO8R4 | 170 | 255
IQ + Touch Screen | 1 | 10.2" Color | 1300 | 1300
Licence | 1 | IQ-L | 600 | 600
5673.75

## Cordona East Deck 4BHK FAM
TYPE 4BHK + FAM4033 SQFT
| Lights | CeilingFans | Alarm | Temperature
Dress 1 | 1
Dress 2 | 1
Bath | 1
Masterbed | 3 | 1 | 1
Living | 3 | 1 | 1
Dining | 3 | 1 | 1
Bar | 2 | 1
Family room | 2 | 1
Bedroom 1 | 2 | 1 | 1
Bedroom 2 | 3 | 1 | 1
Bedroom 3 | 1 | 1 | 1
Toilet 1 | 1
Toilet 2 | 1
Toilet 3 | 1
Study | 1 | 1 | 1
Kitchen | 2 | 1
Utility | 1 | 1
Maid | 1
PwRm | 1
Deck | 4 |  | 2
Foyer | 3 | 1 | 1
Bath | 1
| 39 | 12 | 10 | 10
Light module ON/OFF | 4.875 | BIO8R4 | 170 | 828.75
Dimming lights - 3 | 1 | LC-DC | 95 | 95
Switch input | 3.5 | BI24 | 150 | 525
Temperature zones | 10 | FC+ES | 120 | 1200
Alarm | 10 | PIR sensor | 87 | 870
Ceiling fans | 1.5 | BIO8R4 | 170 | 255
IQ + Touch Screen | 1 | 10.2" Color | 1300 | 1300
Licence | 1 | IQ-L | 600 | 600
5673.75

## Cordona West Terrazo 3BHK
TYPE 3BHK 2942 SQFT
| Lights | CeilingFans | Alarm | Temperature
Dress 1 | 1
Dress 2 | 1
Masterbed | 3 | 1 | 1
Living | 3 | 1 | 1
Dining | 3 | 1 | 1
Bar | 2 | 1
Family room | 2 | 1
Bedroom 1 | 2 | 1 | 1
Bedroom 2 | 3 | 1 | 1
Toilet 1 | 1
Toilet 2 | 1
Kitchen | 2 | 1
Utility | 1 | 1
Maid | 1
PwRm | 1
Terrazo | 3 |  | 2
Foyer | 3 | 1 | 1
Bath | 1
| 34 | 10 | 8 | 7
Light module ON/OFF | 4.25 | BIO8R4 | 170 | 722.5
Dimming lights - 3 | 1 | LC-DC | 95 | 95
Switch input | 3.5 | BI24 | 150 | 525
Temperature zones | 7 | FC+ES | 120 | 840
Alarm | 8 | PIR sensor | 87 | 696
Ceiling fans | 1.25 | BIO8R4 | 170 | 212.5
IQ + Touch Screen | 1 | 10.2" Color | 1300 | 1300
Licence | 1 | IQ-L | 600 | 600
4991

## HIQ CONFIGURATION
CONFIGURATOR
Customer: | [5 empty] | Prepared by:
Object and address: | [5 empty] | Offer no:
Date:
GROUND FLOOR | ON/OFF lights, power sockets, exhaust fans | Dimmable lights | DALI lights | RGB+white LED strips | Blinds | Scene selectors | Room thermostat | Fan-coils | Heating valves, cooling valves | Air-conditioner, boiler, chiller
Entrance hall
Corridors
Living room
Dining
Kitchen
Workroom
Utility
Guest room
Children's room 1
Children's room 2
Bathroom 1
Bedroom
Bathroom 2
Garage | [10 empty] | HC-IQ | LC-10-IQ | LD-P4-IQ | LD-D8-IQ | LD-V4-IQ | BC-5-IQ | SC-4O-IQ | TH-1-IQ | FC-1-IQ | DI of HC-IQ
House surroundings
Other
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
FIRST FLOOR | ON/OFF lights, power sockets, exhaust fans | Dimmable lights | DALI lights | RGB+white LED strips | Blinds | Scene selectors | Room thermostat | Fan-coils | Heating valves, cooling valves | Air-conditioner, boiler, chiller | 0 |  |  |  | 0
Staircase
Corridors
Bedroom
Children's room 1
Children's room 2
Bathroom
Balkony
Other | [10 empty] | 0 |  |  |  | 0
TOTAL | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | 0 |  |  | 0 | 0 | 0 | 0 | 0 | 0
BASIC COMPONENTS: | [6 empty] | Price | Qty. | Discount | Value
Home controller |  | HC-IQ |  |  |  |  | 350 | 0 | 0% | 0
Light controller |  | LC-10-IQ |  |  |  |  | 190 | 0 | 0% | 0
Light dimmer |  | LD-P4-IQ |  |  |  |  | 80 | 0 | 0% | 0
DALI dimmer |  | LD-D8-IQ |  |  |  |  | 80 | 0 | 0% | 0
LED stripe dimmer |  | LD-V4-IQ |  |  |  |  | 130 | 0 | 0% | 0
Blinds controller |  | BC-5-IQ |  |  |  |  | 190 | 0 | 0% | 0
Scene panel |  | SC-4T-IQ |  |  |  |  | 124 | 0 | 0% | 0
Thermostat |  | TH-1T-IQ |  |  |  |  | 144 | 0 | 0% | 0
HVAC controller |  | FC-1-IQ |  |  |  |  | 130 | 0 | 0% | 0
Power supply |  | PS-IQ |  |  |  |  | 40 | 0 | 0% | 0
Light driver |  | LUD12 |  |  |  |  | 62.2 | 0 | 0% | 0
Bus extender |  | CAD-BE-PROT-IQ |  |  |  |  | 46 | 0 | 0% | 0
ADDITIONAL FUNCTIONS
Power meter set | [6 empty] | 98 |  | 0% | 0
Motion sensor | [6 empty] | 48 |  | 0% | 0
Ligtness sensor | [6 empty] | 80 |  | 0% | 0
External temperature sensor | [6 empty] | 20 |  | 0% | 0
External temperature sensor in Aluminium housing | [6 empty] | 48 |  | 0% | 0
Other | [6 empty] | 1 |  | 0% | 0
[7 empty] | Total value HIQ |  |  | 0
[7 empty] | VAT |  | 22% | 0
[7 empty] | For payment |  |  | 0
Offer include: | Equipment, typical electrical project, typical functional program, configuration application, user smart phone and tablet application
Offer doesn't include: | Electrical instalation, electro materials (cables, relays, etc)
Warranty: | 36 months automation equipment
Payment terms:
Execution time: